Cable Name: AT-ETX-2i/CBL01

|  |  |  |
| --- | --- | --- |
| DB9 MALE NBZ-9P+TCTC-9  **UsbPio-1/ UsbPio-3** | DB9 MALE NBZ-9P+TCTC-9  **RB-1/ RB-2** | *Note:* *Power cord’s pair* |
| 1 | 4 | *1* |
| 6 | 3 | *2* |
| 9 | 9 |  |
| DB9 MALE NBZ-9P+TCTC-9 **UsbPio-2/ UsbPio-4** |  |  |
| 1 | 2 | *3* |
| 6 | 1 | *4* |
| 9 | 9 |  |

UsbPio-1

RB-1

UsbPio-2

UsbPio-3

RB-2

UsbPio-4

Length: 160 cm

Quantity: 2 units

Cable type: 7291202109

Please attach a label the with Cable Name and **different** **labels (xx/yy)** to the cable.